Boiler#2, the back divider plate insulation baffle is broken

Proposal to:

Replace the broken baffle @ door insulation at Boiler #2

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Boiler#2, the back divider plate |  |  |  |  |  |  |  |  |
| CSS #34108 - CMI #15588 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.01.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 4 |  |  |  |  |  | $ 480.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 146.32 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 626.32 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 626.32 |