NO HEAT ON FIST FLOOR ON USARC; Heat Pump # 1-3 does not operate.

Proposal to:

- Remove the current actuator at the condenser loop water valve for Heat pump 1-3

- Replace with a new actuator

- Test operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| NO HEAT ON FIST FLOOR ON USARC |  |  |  |  |  |  |  |  |
| CSS #34317 - CMI #17187 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.22.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor |  |  |  |  |  |  |  | $ 496.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 261.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 757.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 757.00 |