Repair Pump #2A on Geothermal loop in main building.

Pump is leaking glycol onto the floor from a seal on the coupler closest to pump #2A

Proposal for Repairs:

Replace gaskets at Circ Pump #2, fill glycol tank above the alarm switch

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Replace gaskets & Circ pump 2 |  |  |  |  |  |  |  |  |
| CSS #34604 - CMI #16877 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.04.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 8 |  |  |  |  |  | $ 960.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 962.66 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,922.66 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,922.66 |