Repair heat pump # 1-11. No heat. This HP is in the gymnasium ceiling and will not go into heating mode.

Proposal to:

1. Furnish leak test for HP 1-11 in gymnasium

2. Recovery remaining charge from system

3. Pressurize with nitrogen

4. Perform leak test

5. Braze over suspected leak point.

6. Any items found to be leaking that are currently unknown, will be invoiced separately

7. Evacuate and recharge with refrigerant

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair heat pump # 1-11 |  |  |  |  |  |  |  |  |
| CSS #34700 - CMI #16633 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.19.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 113.00 | 8 |  |  |  |  |  | $ 904.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 665.00 |
| 1.3 Misc |  |  |  |  | $ - | $ - | $ - | $ 325.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,894.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,894.00 |