Repair multiple lights on both floors of the reserve center.

Proposal to:

Remove and replace bulbs.

Note *This proposal excludes 4 lights that will require a lift, they are in the middle of the ceiling and approximately 25 high, a new ticket will need to be opened for these*

https://www.grainger.com/product/GE-CURRENT-Plug-In-CFL-Bulb-1PHA7  x 10

https://www.grainger.com/product/GE-CURRENT-Metal-Halide-HID-Bulb-2TJ29 x2

https://www.amazon.com/Sylvania-CF13EL-Soft-White-Light/dp/B0049OVDXG  x1

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair multiple lights |  |  |  |  |  |  |  |  |
| CSS #35151 - CMI #16855 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 03.29.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 2 |  |  |  |  |  | $ 160.00 |
| 1.2 CFL Bulbs x 10 |  |  |  | $ 123.50 | $ 8.65 | $ 132.15 | $ 26.43 | $ 158.57 |
| 1.2 Metal Halide HID Bulb x 2 |  |  |  | $ 105.70 | $ 7.40 | $ 113.10 | $ 22.62 | $ 135.72 |
| 1.2 Sylvania CF13EL |  |  |  | $ 31.49 | $ 2.20 | $ 33.69 | $ 6.74 | $ 40.43 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 494.73 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 3 |  |  |  |  |  | $ 240.00 |
| Grand Total |  |  |  |  |  |  |  | $ 734.73 |