After making repairs to the Domestic water heaters. It was discovered that the Cartridge circulator is leaking and needs to be replaced.

Proposal to:

- Remove and replace cartridge circulator with a new 1.

- Also found O-rings leaking on the Neut tubes. O-rings to be provided at no extra charge.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Discovered during repairs of Water heaters |  |  |  |  |  |  |  |  |
| CSS #548 - CMI #19377 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.27.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 130.00 | 4 |  |  |  |  |  | $ 520.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 748.63 |
| 1.3 Shipping Costs |  |  |  |  | $ - | $ - | $ - | $ 25.00 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 80.50 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,374.13 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |

| 2.1 Incurred |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grand Total |  |  |  |  |  |  |  | $ 1,374.13 |