Backflow Preventer RM 138 – there is a 1inch Wilkins that is too high and is unsafe to test

Backflow too high to test

Isolate and drain water line

Remove pipe covering as necessary

Remove backflow and lower

Pressure test

Replace pipe covering that was removed

Put units back into service.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| MAINTAIN BACKFLOW PREVENTER |  |  |  |  |  |  |  |  |
| CSS #594 - CMI #18263 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.07.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 8 |  |  |  |  |  | $ 920.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 522.89 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,442.89 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,442.89 |