Initial diagnostic: Repair 3 VAV's, No AC

** Proposal approved wo 19192, repairs made. Follow up proposal **

Proposal to:

Remove broken actuator & replace with new

Cycle Valve

Remove broken pressure switch & replace with new

Cycle heat pump in heating & cooling

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair 3 VAV's, No AC |  |  |  |  |  |  |  |  |
| CSS #8946 - CMI #19389 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.12.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 10 |  |  |  |  |  | $ 1,150.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 104.96 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,254.96 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,254.96 |