During agreed repairs on CSS 30341, Wo 12872, technician discovered additional leak and

suggested necessary repairs to better support piping for AH#4 chilled water line as follows:

Proposal to: Repair Boilers
Install remote emergency disconnects for all boilers and carbon monoxide detectors in all mechanical rooms.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair Boilers Install remote emergency |  |  |  |  |  |  |  |  |
| CSS #90374 - CMI #19740 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.10.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 8 |  |  |  |  |  | $ 920.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 219.25 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,139.25 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred costs |  |  |  |  |  |  |  | $ 395.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,534.25 |