Repair heating in OMS building work bays. Primary heater will not run properly, secondary heaters are not coming on.

Proposal to:

Replacement of 2 thermostats

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair heating in OMS building |  |  |  |  |  |  |  |  |
| CSS #90991 - CMI #20208 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.14.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 8 |  |  |  |  |  | $ 960.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 266.62 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,226.62 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred Costs |  |  |  |  |  |  |  | $ 360.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,586.62 |