Emergency – NO HEAT in OMS Offices. The gas forced hot air furnace that supplies the OMS office space will not ignite.

Proposal to:

Remove failing gas valve

Install new OEM gas valve

Test and place system back into normal operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| NO HEAT in OMS Offices. |  |  |  |  |  |  |  |  |
| CSS #91674 - CMI #21044 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.23.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 132.00 | 4.5 |  |  |  |  |  | $ 594.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 331.00 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 176.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,101.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 282.00 |

| Grand Total |  |  |  |  |  |  |  | $ 1,383.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |