Repair Arms Vault wall sensor. System shows error on Alarm 9 - Sensor 7.

LoCurrent Systems is pleased to provide a quotation to replace the existing nonfunctional Ceiling Mount

Motion Sensor with new 360 Degree Motion Sensor and test for proper operation with Fort McCoy at the Schenectady, NY USARC NY060 Vault as per the following description: "System shows error on Alarm

9 - Sensor 7".

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair Arms Vault wall sensor. |  |  |  |  |  |  |  |  |
| CSS #93124 - CMI #21799 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.20.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 16 |  |  |  |  |  | $ 1,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 156.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,516.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred cost |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,516.00 |