Repair both rear doors
Rear door by staircase CAC access does not function. Rear door by drill hall CAC reader works (magnet releases) but door does not pull open from outside.

Proposal to:

Diagnose and repair if possible, the (2) Rear Doors at the Schenectady, NY USARC both the Rear Door by Drill Hall and Rear Door by Staircase as per the following description of issues: "Rear door by staircase CAC access does not function. Rear door by drill hall CAC reader works (magnet releases) but door does not pull open from outside."

Note: if there is something wrong with the mechanics of the door or the door hardware, we will need to provide a Follow Up Quotation for what it will take to replace.

Additionally, Core Rebate will be applied only if existing Reader is physically undamaged.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair both rear doors Rear |  |  |  |  |  |  |  |  |
| CSS #94260 - CMI #23354 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.13.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 13 |  |  |  |  |  | $ 1,105.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,550.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,655.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 rebate |  |  |  |  |  |  |  | $ (200.00) |
| Grand Total |  |  |  |  |  |  |  | $ 2,455.00 |