Repair personnel door in AMSA shop. Weather stripping is severely worn and coming off door. Handwashing sink plumbing is near this door and drafts from door could freeze water lines.

Proposal to:

Install damaged weather-stripping kit on AMSA Shop

- Adjust door

- Adjust closer

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair personnel door in AMSA shop |  |  |  |  |  |  |  |  |
| CSS #27860 - CMI #11101 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.04.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 4 |  |  |  |  |  | $ 480.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 161.46 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 641.46 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 641.46 |