The motion sensor lights in room 110, conference room, are stuck in the on position. Both sensors look as if they

Remove defective wall mounted occupancy sensors in room 110 and replace with ceiling mounted occupancy sensors for the lighting.

Install a wall switch to turn light off manually.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| The motion sensor lights in room 110, |  |  |  |  |  |  |  |  |
| CSS #19965 - CMI # 6006 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.15.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 110.00 | 12 |  |  |  |  |  | $ 1,320.00 |
| 1.2 Materials |  |  |  |  | $ - | $ - | $ - | $ 712.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,032.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 110.00 | 4 |  |  |  |  |  | $ 440.00 |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 2,472.00 |