NY116, CSS 21788 – This wo is being split into 2 separate wo’s.

This proposal is 417th UA’s Office. Needs a reducer installed for the ceiling register. Office is very cold.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Needs a reducer installed |  |  |  |  |  |  |  |  |
| CSS #21788 - CMI # 5738 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.30.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor |  |  |  |  |  |  |  | $ 848.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 134.09 |
| 1 - 8" flex / 3 - 8" damper hardware |  |  |  |  |  |  |  |  |
| 1.3 Misc |  |  |  |  |  |  |  | $ 282.80 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,264.89 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ 450.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,714.89 |

Proposal to supply all labor and material needed to complete the following:

2nd floor dampers and flex duct found.

- Fix broken dampers and flex duct

- Test for proper operation