The second-floor female latrine has a toilet that won't flush

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| MD006 |  |  |  |  |  |  |  |  |
| Top of Form The second floor female latrine |  |  |  |  |  |  |  |  |
| CSS #22182 - CMI # 6054 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.19.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 99.00 | 1 |  |  |  |  |  | $ 99.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 654.82 |
| 1.3 Misc |  |  |  |  |  |  |  | $61.25 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 815.07 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 148.00 | 1 |  |  |  |  |  | $ 148.00 |
| 2.2 Misc |  |  |  |  |  |  |  | $ 12.03 |
| Grand Total |  |  |  |  |  |  |  | $ 975.10 |

REPLACE ZURN FLUSHOMETER WITH SLOAN FLUSHOMETER. PARTS MORE READILY AVAILABLE FOR SLOAN.: SHUTDOWN WATER TO WOMEN’S BATHROOM, REPLACE ONE ZURN FLUSHOMETER WITH EQUIVALENT SLOAN UNIT. PARTS READILY AVAILABLE FOR SLOAN.