Motor belt for HVAC Air-handler # 1(second floor mechanical room) is loose and needs to be replaced. Unit is currently working but will need a service call to keep the unit functioning properly. The motor has 4 belts and all 4 are in very poor condition

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| motor belt for HVAC Air Handler |  |  |  |  |  |  |  |  |
| CSS #22462 - CMI # 6090 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.14.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor |  |  |  |  |  |  |  | $ 468.00 |
| 1.2 4 Belts |  |  |  |  | $ - | $ - | $ - | $ 252.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 720.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 720.00 |

Proposal is for labor and material to perform the following repairs.

- AHU #1 Trane MCCB0250A0C

  - Replace 4 Belts

  - Adjust to correct tension.