| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Top of Form double exterior doors in assembly hall |  |  |  |  |  |  |  |  |
| CSS #22597 - CMI # 6477 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.14.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 13 |  |  |  |  |  | $ 1,040.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 444.36 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,484.36 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 158.00 | 1 |  |  |  |  |  | $ 158.00 |
| United, incurred |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,642.36 |

The double exterior doors in the assembly hall (next to the kitchen) will not close properly. Damage had been done to the door’s threshold impeding both opening and securing the doors. Repair will improve both safety and security for the training facility.

Proposal to:

- Remove exterior Double doors in Assembly Hall.

- Straighten sprung jambs

- Remove and install (6) hinges

- Re-install doors and adjust

- Remove failed weatherstripping and install new

- Adjust closers