| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| HVAC #4 in the first floor |  |  |  |  |  |  |  |  |
| CSS #24577 - CMI # 7918 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 3.25.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 8 |  |  |  |  |  | $ 960.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 50.00 |
| 1.3 Misc |  |  |  |  |  |  |  | $202.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,212.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,212.00 |

AFRC HVAC #4 in the first-floor mechanical room is leaking water from a supply line

Proposal to:

Isolate compromised fitting.

-Remove fitting (s) as necessary and replace.

-Remove and re-install existing pipe insulation.

-check for leaks.

1 Misc copper fittings and solder