| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| The motor in AHU 1M, AMSA shop |  |  |  |  |  |  |  |  |
| CSS #25292 - CMI # 8695 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 6.04.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 158.00 | 6 |  |  |  |  |  | $ 948.00 |
| 1.2 Motor |  |  |  |  | $ - | $ - | $ - | $ 783.00 |
| 1.3 Misc |  |  |  |  |  |  |  | $140.64 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,871.64 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ 298.97 |
| Grand Total |  |  |  |  |  |  |  | $ 2,170.61 |

The motor in AHU 1M, AMSA shop, sounds like it has a bad motor bearing. Unit is functioning currently an provides AC for the facility.

Proposal to provide necessary labor and material to perform the following.

AMSA Shop:

Replace blower motor and fan belt in Aaon AHU tag 1M M#V2C2356200 / S# 200808CBWC02388

Includes:

1. Balder 2HP 208-230-460 3 phase 1725RPM

1. A46 Belt

Incurred service call