Repair Loading Dock Bumpers.

Proposal to:

Loading Dock Bumpers

- Re-mount loading dock bumpers

- Repair concrete wall where anchors pulled

- Install 3/4-inch expandable anchors

- Weld top of bumper were torn away from dock angle

- Prime and paint bumper bracket(s) for rust prevention

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional repairs |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair Loading Dock Bumpers. |  |  |  |  |  |  |  |  |
| CSS #26322 - CMI #16893 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.22.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 6 |  |  |  |  |  | $ 720.00 |
| 1.2 Misc hardware & paint |  |  |  |  | $ - | $ - | $ - | $ 50.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 770.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 770.00 |