Backflow device failed inspection - 3/4" Conbraco M # 40204T2 - test cock #2 needs to be replaced

Proposal to remove and replace 2 test cocks on Conbraco #40204T2 backflow preventer

Once repair is made, backflow preventer will be retested.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Asset 10741 |  |  |  |  |  |  |  |  |
| CSS #27252 - CMI #10366 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.12.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $161.00 | 1 |  |  |  |  |  | $161.00 |
| 1.2 WATLFTC test cock |  |  |  |  | $- | $- | $- | $177.50 |
| 88.75 each 2 needed |  |  |  |  |  |  |  |  |
| 1.3 Retest Backflow device |  |  |  |  |  |  |  | $150.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $338.50 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $161.00 | 1 |  |  |  |  |  | $161.00 |
| Grand Total |  |  |  |  |  |  |  | $649.50 |