Called in by Pat S, AMSA 106 - leaking water pipe. Needs to be repaired.

Tech found the ¾ line leaking on top of heater. Shutdown water to the building to remove the corroded ¾ and 1 ½ cooper pipe. Installed a new 1 ½ isolation ball valve and ¾ shutoff ball valve to hose bib with all necessary fittings and pipe. Restored water, checked for leaks tested operation and left in full working order.

Verbal approval was given / job completed.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| leaking water pipe. Needs to be repaired |  |  |  |  |  |  |  |  |
| CSS #27392- CMI # 10689 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.28.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 161.00 | 4 |  |  |  |  |  | $ 644.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 656.45 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,300.45 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,300.45 |