Repair AMSA Boiler. Boiler does not start, leaving facility without heat.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair AMSA Boiler, Fulton boiler |  |  |  |  |  |  |  |  |
| CSS #28040- CMI #11117 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.20.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 125.00 | 5.5 |  |  |  |  |  | $ 687.50 |
| 1.2 Misc |  |  |  |  | $ - | $ - | $ - | $ 329.42 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,016.92 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,016.92 |

EMERGENCY CALL:

Tech went out on Emergency rates and was able to make repairs to the Fulton Boiler.

This job has been completed.