repair Asset 10731 valve 2, urinal

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| repair Asset 10731 valve 2, urinal |  |  |  |  |  |  |  |  |
| CSS #29530 - CMI #12514 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 4.19.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 6 |  |  |  |  |  | $ 720.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 391.72 |
| 1.2 Misc |  |  |  |  | $ - | $ - | $ - | $ 222.34 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,334.06 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,334.06 |

Proposal to:

- Replace (1) commode flushometer assembly

- Install brass spud on commode and urinal

- Replace seized shutoff valve on urinal

- Disassemble and clean mineral deposits from valve body.

- Install Repair/seal & diaphragm kit

- Install vacuum breaker assembly