Water leaking from Chilled water supply on air handler #4.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Water leaking from Chilled water |  |  |  |  |  |  |  |  |
| CSS #30341 - CMI #12872 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 05.13.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 163.00 | 8 |  |  |  |  |  | $ 1,304.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 445.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,749.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,749.00 |

Proposal to:

- Isolate drain, remove and replace gaskets and fill system.

- Check unit operations.

- Labor intensive due to draining pipes and then filling the system back up