During Seasonal Changeover tech found a bad temperature sensor on the Trane Chiller.

Proposal to:

- Replace temperature sensor on Trane Chiller.

- Check unit operations.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Found during Seasonal Changeover |  |  |  |  |  |  |  |  |
| CSS #30609 - CMI # |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 5.14.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 163.00 | 8 |  |  |  |  |  | $ 1,304.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 323.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,627.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,627.00 |