Repair chiller. Water pressure is at 100PSI and should be around 35 PSI .

Proposal to:

Rebuild Apollo RPZ Valve.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair chiller. Water pressure |  |  |  |  |  |  |  |  |
| CSS #32287 - CMI #14848 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 08.31.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 163.00 | 8 |  |  |  |  |  | $ 1,304.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 655.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,959.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 163.00 | 1.25 |  |  |  |  |  | $ 203.75 |
| Grand Total |  |  |  |  |  |  |  | $ 2,162.75 |