Repair A/C in AMSA 106 offices.

Proposal to:

Replace guaranteed off timers.

Replace belt.

Test and inspect.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair A/C in AMSA 106 offices |  |  |  |  |  |  |  |  |
| CSS #87598 - CMI #19374 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.30.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 4 |  |  |  |  |  | $ 600.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 234.47 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 75.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 909.47 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 450.00 |

| Grand Total |  |  |  |  |  |  |  | $ 1,359.47 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |