Repair Siding on rear of building.
Rear wall of building (near cooling tower) has corrosion and rust on siding and flashing and needs repair/ replacement.

Proposal to:

- Repair siding at South of building.

- Siding is rusted from condensed water.

- Install vinyl sheet on wall.

- Provide and install wall covering, metal, 10 ft long.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair Siding on rear of building |  |  |  |  |  |  |  |  |
| CSS #89827 - CMI #19354 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.30.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 16 |  |  |  |  |  | $ 1,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 215.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,575.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 250.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,825.00 |