No air conditioning going thru AHU-1-T on second floor. Will not auto engage. Both supply and exhaust are in manual bypass mode temporarily.

Tech arrived and found burnt out fuses.

Proposal to:

Remove and replace the fuses. 3 additional fuses to be left on site.

Verbal approval given.

Fuses ordered, scheduled to arrive 9/19.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| No air conditioning |  |  |  |  |  |  |  |  |
| CSS #89830 - CMI #19353 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.17.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150 | 2 |  |  |  |  |  | $ 300.00 |
| 1.2 Fuses 5 x 50 |  |  |  |  |  |  |  | $ 300.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 600.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 incurred | $ 150 | 1 |  |  |  |  |  | $ 150.00 |

| Grand Total |  |  |  |  |  |  |  | $ 750.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |