Initial repairs made.

Additional work discovered during repairs to 19757.

Proposal to:

1. Supply OEM tool and leave in procession of USAR on site.

2. Remove air flapper housing.

3. Remove bees obstructing intake.

4. Assemble and test.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair Boiler in AMSA 106. |  |  |  |  |  |  |  |  |
| CSS #90549 - CMI #20627 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.12.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 8 |  |  |  |  |  | $ 1,200.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 377.05 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 75.00 |
| 1.4 Misc |  |  |  |  |  |  |  | $ 42.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,694.05 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |

| 2.1 Incurred |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grand Total |  |  |  |  |  |  |  | $ 1,694.05 |