Repair Boiler in AMSA 106. Heating Boiler at AMSA must be repeatedly reset and will not stay running.

While making repairs to wo 20627, additional was found.

Proposal to:

- Replace intake switch.

- 2. Test and inspect.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Additional work found on wo 20627 |  |  |  |  |  |  |  |  |
| CSS #90549 - CMI #21076 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.08.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 4 |  |  |  |  |  | $ 600.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 270.86 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 75.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 945.86 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  |  |

| Grand Total |  |  |  |  |  |  |  | $ 945.86 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |