Repair Crash bar on emergency exit door of the south stairwell. Bar does not

reengage the door mechanism

Proposal to:

- Provide and replace “precision” push bar on South exit of training building.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair Crash bar on emergency |  |  |  |  |  |  |  |  |
| CSS #90698 - CMI #19776 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.13.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 4 |  |  |  |  |  | $ 340.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,450.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,790.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred cost |  |  |  |  |  |  |  | $ 150.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,940.00 |