Repair West door security camera. Camera is not working, attempted a reset on camera with no success.:

Proposal to:

- Replace (1) Camera inclusive of Adapter above the West Door

| NY116 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Repair West door security camera. |  |  |  |  |  |  |  |  |
| CSS #90702 - CMI #19778 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.09.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 16 |  |  |  |  |  | $ 1,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 439.14 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,799.14 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred cost |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,799.14 |