Repair regulator on air line in AMSA 106.

Regulator on air hose line between bay 4 and bay 5 is leaking air unable to build pressure to operate equipment.

Proposal to:

-Install Parker regulator

-Install pipe union as necessary

-Service call

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair regulator on air line in AMSA |  |  |  |  |  |  |  |  |
| CSS #92212 - CMI #21447 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.21.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 5 |  |  |  |  |  | $ 600.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 385.55 |
| 1.2 Material markup 20% |  |  |  |  | $ - | $ - | $ - | $ 77.17 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,062.72 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred Cost |  |  |  |  |  |  |  |  |

| Grand Total |  |  |  |  |  |  |  | $ 1,062.72 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |