Repair roof at AMSA 106 (Breakroom.

Roof leaking thru ceiling tiles in northwest corner of break room at AMSA 106. Need leak stopped and tiles replaced.

Proposal to:

- Repair roof over break room

- Patch all drains on west side of building.

- Seal corner rubberized roof on drain valleys.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair roof at AMSA 106 (Breakroom) |  |  |  |  |  |  |  |  |
| CSS #92899 - CMI #21757 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.06.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 12 |  |  |  |  |  | $ 1,020.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 650.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,670.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 150.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,820.00 |