Repair HVAC BMS.

There is no air moving in the building. New Fire Alarm system contractors state that the system shows all normal. AMI reports AHUs and Chiller are in order but not being called for demand. BMS AHU controllers show equipment disabled.

This is a **Discovery Proposal**

CMI will only be invoiced for the time spent on the job for the diagnostic.

Note: A Secondary proposal will follow for repairs.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair HVAC BMS. |  |  |  |  |  |  |  |  |
| CSS #93481 - CMI #22145 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 05.31.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor |  |  |  |  |  |  |  | $ 1,657.50 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - |  |
| 1.3 Trip |  |  |  |  |  |  |  |  |
| 1.4 Misc |  |  |  |  |  |  |  |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  |  |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,657.50 |