Glycol leaking from Air Handler #6 on first floor mech Room.

Proposal to:

Isolate coil and drain glycol.

Replace all di-electric unions on reheat coil.

Fill coil with glycol.

Test and inspect.

Note: The existing glycol will be reused. Union’s do not have part #’s they are pro press.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Glycol leaking from Air Handler |  |  |  |  |  |  |  |  |
| CSS #93728 - CMI #22718 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.14.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 10 |  |  |  |  |  | $ 1,500.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 551.83 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 75.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,126.83 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred Cost |  |  |  |  |  |  |  | $ 450.00 |

| Grand Total |  |  |  |  |  |  |  | $ 2,576.83 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |