The exhaust fan on the first-floor mechanical room of the AFRC on the south wall over the hot water
heaters is making a loud noise when running.

Proposal to:

- Replace 3/4 HP Baldor Motor at second floor mechanical room.

- replace the belt.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair the exhaust fan |  |  |  |  |  |  |  |  |
| CSS #93873 - CMI #24289 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.05.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 12 |  |  |  |  |  | $ 1,020.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 735.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,755.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,755.00 |