Emergency Request:

Exhaust Fan on second floor mechanical room not working. When fan is switched on the motor makes a

grinding noise but does not move the fan.

** Note ** Currently at that facility there is a 1.2-million-dollar Boiler replacement project going on. They will be welding that room next week and need the exhaust operational.

Proposal to:

- Replace 3/4 HP Baldor Motor at second floor mechanical room.

- Service the duct system, replace the belt.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair Exhaust fan upstairs |  |  |  |  |  |  |  |  |
| CSS #94131 - CMI #23327 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.06.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 12 |  |  |  |  |  | $ 1,020.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 855.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,875.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Diagnostic |  |  |  |  |  |  |  | $ 250.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,125.00 |