Repair door of National Guard
Storage Unit. It will not lock into place. Doors cannot be secured and are out of alignment.

Proposal to:

- REMOVE AND REINSTALL MIDLE FRAME SECTION OF DOUBLE DOOR

- PRIMER AND PAINT WELDED AREAS MATCHING EXISTING ONE

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair door of National Guard Storage Unit |  |  |  |  |  |  |  |  |
| CSS #94220 - CMI #24286 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.05.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 6 |  |  |  |  |  | $ 510.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 100.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 610.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 610.00 |