Repair kitchen roll up door, door will not go up.

Proposal to:

Kitchen roll-up fire-door

- Tighten loose drive sprocket bolts

- Re-Align sprocket on pocket wheel assembly

- Adjust tensioner

- Repair and re-attach fire safety control cable pulley to cmu block wall above ceiling

tiles.

- Re-attach lead link to door frame.

- Lubricate tracks with silicone

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional repairs |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair kitchen roll up door |  |  |  |  |  |  |  |  |
| CSS #1067 - CMI #17671 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.22.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 5 |  |  |  |  |  | $ 600.00 |
| 1.2 |  |  |  |  | $ - | $ - | $ - |  |
| 1.3 |  |  |  |  |  |  |  |  |
| 1.4 |  |  |  |  |  |  |  |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 600.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 600.00 |