Repair two emergency lights in main building? One light is in the first-floor hallway, across from the mechanical room. The other light is above the double doors to the outside in the mechanical room.

| Scope of work involved at Saugerties USARC |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Remove a Qty of ( 2 ) Faulty LED Emergency lights in 1st Floor Hallway and |  |  |  |  |  |  |  |
| exit of 1st Floor Mechanical Room. |  |  |  |  |  |  |  |
| 2. Install a Qty of ( 2 ) LED High Output Emergency lights in same locations |  |  |  |  |  |  |  |
| and wire to existing backup lighting Inverter unit. |  |  |  |  |  |  |  |

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair two emergency lights |  |  |  |  |  |  |  |  |
| CSS #196 - CMI #17194 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 05.23.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 110.00 | 4 |  |  |  |  |  | $ 440.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 194.74 |
| 1.3 Markup 20% |  |  |  |  | $ - | $ - | $ - | $ 38.95 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 673.69 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 110.00 | 4 |  |  |  |  |  | $ 440.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,113.69 |