Domestic Hot water heater #2 in USARC makes a loud noise. Appears that noise is coming from flue pipe

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Domestic Hot water heater #2 in USARC |  |  |  |  |  |  |  |  |
| CSS #22158 - CMI # 6028 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.18.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 118.00 | 6 |  |  |  |  |  | $ 708.00 |
| 1.2 Adjust manifold pressure |  |  |  |  | $ - | $ - | $ - | $ 95.52 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 803.52 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 803.52 |
| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |

Proposal to supply all labor and materials needed to complete the following:

- Inspect issue

- Adjust manifold pressure

- Test operation