No heat in building. Bldg. will be not have no one in it for a long weekend

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Top of Form No heat in building. Bldg. |  |  |  |  |  |  |  |  |
| CSS #22413 - CMI # 6083 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.18.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 118.00 | 4 |  |  |  |  |  | $ 472.00 |
| 1.2 Misc |  |  |  |  | $ - | $ - | $ - | $ 76.64 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 548.64 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 548.64 |

Proposal to supply all labor and material needed to complete the following:

* Inspect issue

* Not enabled due to shutdown

* Press button outside of boiler room

* Reset. Inspect motor. HPW-03 off