Repairs needed to support ESPC. VAV#113, VAV# 132, and VAV#135 possibly have bad hot water valve / flow issues.

CMI Proposes to:

Remove the existing Actuators and replace them with new for VAV #113, #132 & #135

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repairs needed to support ESPC. |  |  |  |  |  |  |  |  |
| CSS #24611 - CMI #11115 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.10.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 5 |  |  |  |  |  | $ 400.00 |
| 1.2 Actuator |  |  |  |  | $ - | $ - | $ - | $ 464.07 |
| 1.3 20% markup |  |  |  |  |  |  |  | $92.81 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 956.88 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 3 |  |  |  |  |  | $ 240.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,196.88 |