1 Single door refrigerator is not working. Icon on screen shows issue with compressor.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| 1 Single door refrigerator is not working. |  |  |  |  |  |  |  |  |
| CSS #25868 - CMI #11096 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.07.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 119.00 | 6 |  |  |  |  |  | $ 714.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 824.06 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,538.06 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 119.00 | 1 |  |  |  |  |  | $ 119.00 |
| 2.2 Truck Charge |  |  |  |  |  |  |  | $ 226.80 |
| Grand Total |  |  |  |  |  |  |  | $ 1,883.86 |

Proposal to remove and replace existing compressor.