Toilet in men's room of OMS and sink in women's room of OMS are not working. Toilet will not flush and sink does not activate upon motion sensor. Units are currently on Annual training and are in need of these fixtures. There is only one sink in women's room and one toilet in men's room. R D Postulka has the parts for these on his truck.

Proposal to:

- Rebuild (1) commode flushometers

- Disassemble and clean mineral deposits from valve body.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Toilet in men's room of OMS |  |  |  |  |  |  |  |  |
| CSS #26259 - CMI #10234 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 9/14/2020 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 8 |  |  |  |  |  | $ 960.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 811.60 |
| 1.3 Misc |  |  |  |  |  |  |  | $354.32 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,125.92 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 2,125.92 |

- Install Repair/seal & diaphragm kits

- Install vacuum breaker assemblies

** Work has been completed, Sub given verbal Approval while on site **